{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Spændingsdeler"],"not_rendered":{"charts":1,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Spændingsdeler","index":0,"n_rows":30,"n_cols":25,"rows_kept":30,"cut":false,"hidden":false,"merged":[[5,7,7,8],[10,7,12,8],[29,0,29,1],[29,24,29,25],[0,0,0,25],[4,9,4,10],[4,15,4,20],[7,15,7,20],[1,14,1,20],[3,14,3,20],[12,14,12,20]]}
["Spændingsdeler"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Volt"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,0,5,10,15,20,25,30]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"mV målt med "]
[null,null,null,null,null,null,null,null,null,"Rx i k Ω",null,null,null,null,10000,"10,00 MΩ"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"(O3*$G$12/($O$5+$G$12))*1000","v":0},4.9950049950049946,9.9900099900099892,14.985014985014987,19.980019980019978,24.975024975024976,29.970029970029973]
[null,null,null,null,null,null,"Rx",null,null,{"$f":"+O8","v":9990},"K Ω"]
[null,"Vin volt",null,null,null,null,null,null,null,null,null,null,null,null,9990,"9,990 MΩ"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"(O3*$G$12/($O$8+$G$12))*1000","v":0},5,10,15,20,25,30]
[null,10]
[null,null,null,null,null,null,null,null,null,null,null,null,null,"Delta uV",{"$f":"(O9-O6)*1000","v":0},4.995004995005381,9.990009990010762,14.985014985013478,19.980019980021524,24.97502497502424,29.970029970026957]
[null,null,null,null,null,null,10,null,null,"mV",{"$f":"(B10*G12/(J7+G12))*1000","v":10},null,null,"Delta %",0,{"$f":"1-P6/P9","v":9.990009990010762E-4},{"$f":"1-Q6/Q9","v":9.990009990010762E-4},9.9900099900085415E-4,9.990009990010762E-4,9.9900099900096517E-4,9.9900099900085415E-4]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,{"$f":"CONCATENATE(O4,P5, \" (blå) \",\" og \",P8,\" (rød) \")","v":"mV målt med 10,00 MΩ (blå)  og 9,990 MΩ (rød) "}]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["walter",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Reg.No.1266"]